## Catalog
VENDOR CUSTOMER CODE | SUPPLIER PART NUMBER | SUPPLIER NAME | MANUFACTURER NAME | MANUFACTURER PART NUMBER | COMMODITY CODE | ITEM DESCRIPTION | EXTENDED DESCRIPTION | UNIT OF MEASURE | LIST PRICE | DELIVERY DAYS | PRODUCT/CATEGORY | MODEL | DRAWING | PIECE | SERIAL NUMBER | SPECIFICATION | SIZE | COLOR | PICTURE FILE NAME | THUMBNAIL FILE NAME | EXTERNAL SUPPLIER ID | CUSTOMER PRICE | SUPPLIER URL | MANUFACTURER URL | PARAMETRIC NAME | PARAMETRIC DATA | PUNCH OUT ENABLED | PUNCH OUT LEVEL | TERRITORY AVAILABLE | SUPPLIER AUXILIARY ID | MISC DATE 1 | MISC DATE 2 | MISC DATE 3 | MISC AMOUNT 1 | MISC AMOUNT 2 | MISC AMOUNT 3 | MISC TEXT 1 | MISC TEXT 2 | MISC TEXT 3
VC1000033826 | 200 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | 200 | 55725 | Conduit Strap, EMT, Snap-On, 1 Hole 1/2 TS Steel | 100 Per pkg | Pkg | 6.96 | 7
VC1000033826 | 201 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | 201 | 55725 | Conduit Strap, EMT, Snap-On, 1 Hole 3/4 TS Steel | 100 Per pkg | Pkg | 9.67 | 7
VC1000033826 | 202 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | 202 | 55725 | Conduit Strap, EMT, Snap-On, 1 Hole 1 TS Steel | 100 Per pkg | Pkg | 14.67 | 7
VC1000033826 | 250 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | 250 | 55725 | Conduit Body Cover, 3/4" Blank, Aluminum | 100 Per pkg | Pkg | 83.17 | 7
VC1000033826 | 350 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | 350 | 55725 | Conduit Body Cover, 1" Blank, Aluminum | 100 Per pkg | Pkg | 121.49 | 7
VC1000033826 | 451 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | 451 | 55725 | Conduit Connector,EMT,Non-Insul Throat,Set-Screw,3/4 TS | 100 Per pkg, Zinc Plated Steel | Pkg | 25.88 | 7
VC1000033826 | 452 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | 452 | 55725 | Conduit Connector,EMT,Non-Insulated Throat, Set-Screw | 100 Per pkg, 1 TS Zinc Plated Steel | Pkg | 43.56 | 7
VC1000033826 | 460 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | 460 | 55725 | Conduit Connector,EMT,Non-Insul Throat | 100 Per pkg, Set-Screw,1 TS Zinc | Pkg | 20.55 | 7
VC1000033826 | 461 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | 461 | 55725 | Conduit Coupling, EMT,Set-Screw, 3/4 TS Zinc Plate Steel | 100 Per pkg | Pkg | 27.78 | 7
VC1000033826 | 462 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | 462 | 55725 | Conduit Coupling, EMT,Set-Screw, 1 TS Zinc Plated Steel | 100 Per pkg | Pkg | 46.31 | 7
VC1000033826 | 2021 | GRAYBAR ELEC CO INC | NSI Industries | 2021 | 55725 | Photo Control, 2020 Series, 180 deg Swivel | 1/2 Conduit Mounting, 120V | EA | 9.42 | 7
VC1000033826 | 2022 | GRAYBAR ELEC CO INC | NSI Industries | 2022 | 55725 | Photo Control-Director, 2020 Series | 1/2 Conduit Mounting, 180 degree swivel, Lexan Housing, 208-277 50/60 Hz Vac | EA | 12.27 | 7
VC1000033826 | 2421 | GRAYBAR ELEC CO INC | NSI Industries | 2421 | 55725 | Photocontrol Receptacle, Turn-Lock Controls | 120-480V, Color Coded 12" Long #14 Leads, Plastic Housing, Mount Bracket | EA | 16.25 | 7
VC1000033826 | 3000 | GRAYBAR ELEC CO INC | NSI Industries | 3000 | 55725 | Photocell, 3000 Series, Flush Mount | NA | EA | 6.37 | 7
VC1000033826 | 3002 | GRAYBAR ELEC CO INC | NSI Industries | 3002 | 55725 | Photocell Flush Mount, 3000 Series | VA Ballast 1200, 208/277 Volts AC, 1500 Watts Tungsten | EA | 10.11 | 7
VC1000033826 | 5200 | GRAYBAR ELEC CO INC |  |  | 55725 | 1/4 inch strand vice | NA | RL | 9.11 | 7
VC1000033826 | 5201 | GRAYBAR ELEC CO INC |  |  | 55725 | 3/8 strand vice | 50 per roll | RL | 744.44 | 7
VC1000033826 | 5202 | GRAYBAR ELEC CO INC |  |  | 55725 | 5/16 strand vice | 25 per pkg | Pkg | 510 | 7
VC1000033826 | 80716 | GRAYBAR ELEC CO INC | Leviton | 80716 | 55725 | Wallplate, Duplex Receptacle, 2 Gang, Devise Mount | Thermoplastic Nylon, Brown | EA | 0.63 | 7
VC1000033826 | 84009 | GRAYBAR ELEC CO INC | Leviton | 84009 | 55725 | Wallplate, 2 Gang Toggle, Type 430 Stain Steel | NA | EA | 2.09 | 7
VC1000033826 | 84016 | GRAYBAR ELEC CO INC | Leviton | 84016 | 55725 | Wallplate,Duplex Recep,2 Gang, Devise Mnt,430 Stain Steel | NA | EA | 2.55 | 7
VC1000033826 | 84025 | GRAYBAR ELEC CO INC | Leviton | 84025 | 55725 | Wallplate, 2 gang blank, Type 430 Stainless Steel | NA | EA | 2.78 | 7
VC1000033826 | 85003 | GRAYBAR ELEC CO INC | Leviton | 85003 | 55725 | Wallplate, 1 Gang Duplex Recept, Devise Mnt, Brown | NA | EA | 0.25 | 7
VC1000033826 | 86001 | GRAYBAR ELEC CO INC | Leviton | 86001 | 55725 | Wallplate, 1 Gang, Toggle Switch, Devise Mount, Ivory | NA | EA | 0.25 | 7
VC1000033826 | 54074143 | GRAYBAR ELEC CO INC | ETI Solid State Lihting | 54074143 | 55725 | Light,Ceiling, 12 LED Round Flushmnt, 14W,1000 Lumens | NA | EA | 25.55 | 7
VC1000033826 | 54075142 | GRAYBAR ELEC CO INC | ETI Solid State Lihting | 54075142 | 55725 | Light,Ceiling, 16 LED Round Flushmnt, 22W,1700 Lumens | NA | EA | 35.55 | 7
VC1000033826 | 1/4 EHS-A-7W | GRAYBAR ELEC CO INC |  |  | 55725 | 1/4 inch span wire | 1000 ft per roll | RL | 163.04 | 7
VC1000033826 | 11583-719 | GRAYBAR ELEC CO INC | Chatsworth Products | 11583-X-19 | 55725 | Rack, Flush Mnt Wall Bracket, 19 in, Black | NA | EA | 90.33 | 7
VC1000033826 | 11790-725 | GRAYBAR ELEC CO INC | Chatsworth Products | 11790-725 | 55725 | Rack, Standard Swing Gate, 12U, 19in EIA x 24 in D,Black | NA | EA | 302.96 | 7
VC1000033826 | 11790-725-13U | GRAYBAR ELEC CO INC | Chatsworth Products | 11790-725-13U | 55725 | Rack, Standard Swing Gate, 13U, 19in EIA x 24 in D,Black | NA | EA | 302.96 | 7
VC1000033826 | 1221B | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | 1221B | 55725 | Switch, HD Indust Grade 1 Pole, Toggle,Brown | 20A 120/277V | EA | 2.65 | 7
VC1000033826 | 1221I | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | 1221I | 55725 | Switch, HD Indust Grade 1 Pole, Toggle, Ivory | 20A 120/277V | EA | 2.65 | 7
VC1000033826 | 1223B | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | 1223B | 55725 | Switch, HD Indust Grade 1 Pole,3-Way Tog,Brown | 20A 120/277V | EA | 3.01 | 7
VC1000033826 | 1223I | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | 1223I | 55725 | Switch, HD Indust Grade 1 Pole, 3-Way Tog,Ivory | 20A 120/277V | EA | 3.01 | 7
VC1000033826 | 12816-705 | GRAYBAR ELEC CO INC | Chatsworth Products | 12816-705 | 55725 | Power Strip, CPI, Rack Mnt, Black | 110-125V, Single-Pjase, 20A, 1.9kW, NEMA 5-20P Plug | EA | 90.55 | 7
VC1000033826 | 13150-UR5 | GRAYBAR ELEC CO INC | Leviton | 13150-UR5 | 55725 | Flourescent Lampholder Medium Base, Bi-Pin | Low Profile, Slide-On, Straight In Double Edges, Quickwire 18 AWG, White | EA | 1.97 | 7
VC1000033826 | 16ALUM GRN PEDS-VISOR-LED | GRAYBAR ELEC CO INC | McCain |  | 55725 | 16 inch led alum Pedestrian signal Green | NA | EA | 296.74 | 7
VC1000033826 | 16ALUM YEL PEDS-VISORS-LED | GRAYBAR ELEC CO INC | McCain |  | 55725 | 16 inch led alum Pedestrian signal Yellow | NA | EA | 289.67 | 7
VC1000033826 | 1700CBLA | GRAYBAR ELEC CO INC | 3M Co. | 1700CBLA | 55725 | Electrical Tape, 3/4 X 66 FT VIN Code Tape Vinyl, Black | 10 Rolls per pkg, Black, 3M Temflex, Vinyl, 66 Linear Ft, 7 Mil Thickness, 3/4" Wide | EA | 0.73 | 7
VC1000033826 | 1700CBRO | GRAYBAR ELEC CO INC | 3M Co. | 1700CBRO | 55725 | Electrical Tape, 3/4 X 66 FT VIN Code Tape Vinyl, Brown | 10 Rolls Per pkg,Brown, 3M Temflex, Vinyl, 66 Linear Ft, 7 Mil Thickness, 3/4" Wide | EA | 0.86 | 7
VC1000033826 | 1700CGRE | GRAYBAR ELEC CO INC | 3M Co. | 1700CGRE | 55725 | Electrical Tape, 3/4 X 66 FT VIN Code Tape Vinyl, Green | 10 Roll sper pkg, Green, 3M Temflex, Vinyl, 66 Linear Ft, 7 Mil Thickness, 3/4" Wide | EA | 0.86 | 7
VC1000033826 | 1700CORA | GRAYBAR ELEC CO INC | 3M Co. | 1700CORA | 55725 | Electrical Tape, 3/4 X 66 FT VIN Code Tape Vinyl,Orange | 10 Rolls per pkg, Orange, 3M Temflex, Vinyl, 66 Linear Ft, 7 Mil Thickness, 3/4" Wide | EA | 0.86 | 7
VC1000033826 | 1700CRED | GRAYBAR ELEC CO INC | 3M Co. | 1700CRED | 55725 | Electrical Tape, 3/4 X 66 FT VIN Code Tape Vinyl, Red | 10 Rolls per pkg, Red, 3M Temflex, Vinyl, 66 Linear Ft, 7 Mil Thickness, 3/4" Wide | EA | 0.86 | 7
VC1000033826 | 1700CWHI | GRAYBAR ELEC CO INC | 3M Co. | 1700CWHI | 55725 | Electrical Tape, 3/4 X 66 FT VIN Code Tape Vinyl, White | 10 Rolls per pkg, White, 3M Temflex, Vinyl, 66 Linear Ft, 7 Mil Thickness, 3/4" Wide | EA | 0.86 | 7
VC1000033826 | 1700CYEL | GRAYBAR ELEC CO INC | 3M Co. | 1700CYEL | 55725 | Electrical Tape, 3/4 X 66 FT VIN Code Tape Vinyl, Yellow | 10 rolls per pkgYellow, 3M Temflex, Vinyl, 66 Linear Ft, 7 Mil Thickness, 3/4" Wide | EA | 0.86 | 7
VC1000033826 | 23452-H | GRAYBAR ELEC CO INC | Leviton | 23452-H | 55725 | Snap-In Lamp Support Clip | For Horizontal Lamp Mount 2G11 Base Twin Tube Flourecent Lampholder | EA | 0.97 | 7
VC1000033826 | 23452-V | GRAYBAR ELEC CO INC | Leviton | 23452-V | 55725 | Snap-In Vertical Mount Lamp Support Clip | 2G11 Base Twin Tube Flourescent Lampholder | EA | 1.04 | 7
VC1000033826 | 25-T1T/25-T1L | GRAYBAR ELEC CO INC | Eagle | epac 300 ts2 type 1 | 55725 | TS-2 Type 1 Controller Eagle traffic | NA | EA | 79.44 | 7
VC1000033826 | 2GR8-2U6T8A-UNV-EB81-U | GRAYBAR ELEC CO INC | Cooper Lighting (Eaton) | 2GR8-2U6T8A-UNV-EB81-U | 55725 | Light Fixture, Flouresct, Metalux GR8 Series Lensed Troffer | 120/277, 2X2, #12 Acylic Pattern, White | EA | 47.53 | 7
VC1000033826 | 3/8 EHS-A-7W | GRAYBAR ELEC CO INC |  |  | 55725 | 3/8 span wire | 1000 ft per roll | RL | 336.96 | 7
VC1000033826 | 30-072 | GRAYBAR ELEC CO INC | Ideal | 30-072 | 55725 | Wire Nut, Small Blue 22-14AWG 10 | 1000 per pkg | Pkg | 63.06 | 7
VC1000033826 | 30-1032J | GRAYBAR ELEC CO INC | Ideal | 30-1032J | 55725 | Wire Connector, 2 port, Push-In, Red | 100 per pkg | Pkg | 7.99 | 7
VC1000033826 | 30-1034J | GRAYBAR ELEC CO INC | Ideal | 30-1034J | 55725 | Wire Connector, 4 port, Push-In, Yellow | 100 per pkg | Pkg | 9.1 | 7
VC1000033826 | 33-3/4X66 | GRAYBAR ELEC CO INC | 3M Co. | 33-3/4X66 | 55725 | Electrical Tape, 3/4 X 66 FT VIN Code Tape Vinyl, Black | 10 Rolls per pkg, Black, 3M Super 33+, Vinyl, 66 Linear Ft, 7 Mil Thickness, 3/4" Wide | EA | 4.61 | 7
VC1000033826 | 3SEC12 POLYELW/VISOR-NOLED | GRAYBAR ELEC CO INC | McCain |  | 55725 | Traffic Signal 3 Section 12 Head Poly Yellow, cutaway visors | with cutaway visors | EA | 133.21 | 7
VC1000033826 | 3SEC12ALUMGRN W/VIS-NOLED | GRAYBAR ELEC CO INC | McCain |  | 55725 | Traffic Signal 3 Section 12 Head alum green, cutaway visors | with cutaway visors | EA | 150.49 | 7
VC1000033826 | 3SEC12ALUMYELW/VIS-NO LED | GRAYBAR ELEC CO INC | McCain |  | 55725 | Traffic Signal 3 Section 12 Head Alum Yellow, cutaway visor | with cutaway visors | EA | 156.85 | 7
VC1000033826 | 3SEC12POLGRNW/VISOR-NOLED | GRAYBAR ELEC CO INC | McCain |  | 55725 | Traffic Signal 3 Section 12 Head Poly green, cutaway visors | with cutaway visors | EA | 135.65 | 7
VC1000033826 | 45' CLASS 4 | GRAYBAR ELEC CO INC |  |  | 55725 | class 4 - 45 foot wood pole | NA | EA | 1078.89 | 7
VC1000033826 | 450S | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | 450S | 55725 | Conduit Connector,EMT,Non-Insul Throat,Set-Screw | 100 Per pkg, Zinc Plated Steel, 1/2 TS Zinc | Pkg | 15.92 | 7
VC1000033826 | 5/16 EHS-A-7W | GRAYBAR ELEC CO INC |  |  | 55725 | 5/16 span wire | 1000 ft per roll | RL | 287.5 | 7
VC1000033826 | 515SP | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | 515SP | 55725 | Plug, Straight Blade, 15A, 125V, 2P3W, NEMA 5-15P | 2 Pole, 3 wire | EA | 2.65 | 7
VC1000033826 | 51AA3P-510 | GRAYBAR ELEC CO INC | 3M Co. | 51AA3P-510 | 55725 | 3M™ Closure 510P Type 510 51AA3P-510 | NA | EA | 208.94 | 7
VC1000033826 | 5237-UL | GRAYBAR ELEC CO INC | NSI Industries | 2007A | 55725 | Photocontrol, 2005A Series, Instant Response | Turn-Lock, 1000W Tungsten/1800VA Ballast Rating, 105-285 50/60Hz Vac, Blue | EA | 8.52 | 7
VC1000033826 | 5266B | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | 5266B | 55725 | Plug, 2-Pole 3-Wire Ground M,Com/Indus, Blk | Commercial/Industrial, 15A 125V, 5-15P Black | EA | 4.23 | 7
VC1000033826 | 5269-C | GRAYBAR ELEC CO INC | Leviton | 5269-C | 55725 | Connector, Str Blade,15A, 125V,NEMA 5-15C Blk/Wht Nylon | NA | EA | 14.88 | 7
VC1000033826 | 5352AB | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | 5352AB | 55725 | Receptacle, Str Blade Dup w/Flush Face, HD | 20A 125V 2P3W, NEMA5-20R, Flush Face, Brown | EA | 2.13 | 7
VC1000033826 | 5352AI | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | 5352AI | 55725 | Receptacle, Straight Blade Duplex with Flush Face, HD | 20A 125V 2P3W, NEMA5-20R, Flush Face, Ivory | EA | 2.13 | 7
VC1000033826 | 5352AR | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | 5352AR | 55725 | Receptacle, Straight Blade Duplex with Flush face, HD | 20A 125V 2P3W, NEMA5-20R, Flush Face, Red | EA | 2.13 | 7
VC1000033826 | 7790B-SSS | GRAYBAR ELEC CO INC | Fisher Pierce Outdoor Lighting Controls | 7790B-SSS | 55725 | Photocontrol Turn-Lock, 105-285V AC Voltage | Tungsten Rating 1000W, Ballast Load 1800VA, Instant On/Off, Open-Type Expulsion Arrester | EA | 13.1 | 7
VC1000033826 | 80401-I | GRAYBAR ELEC CO INC | Leviton | 80401-i | 55725 | Wallplate, GFCI Device, 1 Gang, Ivory | NA | EA | 0.31 | 7
VC1000033826 | 84085-40 | GRAYBAR ELEC CO INC | Leviton | 84085-40 | 55725 | Wall Plate, 2 gang,1 Blank,1 single 1.406 Inch Dia Device | NA | EA | 6.67 | 7
VC1000033826 | 850EE DC | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | 850EE DC | 55725 | Conduit Handy ELL, EMT,1/2 TS FEM-FEM, Zinc Die Cast | 100 Per pkg | Pkg | 406.76 | 7
VC1000033826 | 875EE DC | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | 875EE DC | 55725 | Conduit Handy ELL, EMT,3/4 TS FEM-FEM, Zinc Die Cast | 100 Per pkg | Pkg | 538.12 | 7
VC1000033826 | AAR | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | AAR | 55725 | Relay, HMOSS Series, 120/277 V | NA | EA | 19.69 | 7
VC1000033826 | APX7R | GRAYBAR ELEC CO INC | Cooper Lighting (Eaton) | APX7R | 55725 | Exit Light, Plastic LED W/Battery, White/Red, 6 Letters | 7 1/2" Height, 11 11/16" Width, 1 3/4" Depth | EA | 15.54 | 7
VC1000033826 | ATB240BLEDE70480R320NLNR | GRAYBAR ELEC CO INC |  | ATB2 40BLEDE70 480 R3 20 NL NR | 55725 | Autobahn ATB0 lighting fixture | NA | EA | 514.29 | 7
VC1000033826 | ATC CONTROLLER | GRAYBAR ELEC CO INC | McCain | atc ex2 nema ts2 type 2 | 55725 | atc Controller Mccain traffic | NA | EA | 2934.78 | 7
VC1000033826 | ATC NEMA CONTR TS2 TYPE 1 | GRAYBAR ELEC CO INC | McCain | atc ex2 nema ts2 type1 | 55725 | TS-2 Type 1 Controller Mccain traffic | NA | EA | 2934.78 | 7
VC1000033826 | ATC NEMA CONTR TS2 TYPE 2 | GRAYBAR ELEC CO INC | McCain | atc ex2 nema ts2 type2 | 55725 | TS-2 Type 2 Controller Mccain traffic | NA | EA | 3152.17 | 7
VC1000033826 | ATD1000C | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | ATD1000C | 55725 | Motion Devices, Sensor, Ceiling H Moss, High Density Lens | 180 deg./1000 sq ft | EA | 103.35 | 7
VC1000033826 | ATD1600W | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | ATD1600W | 55725 | Motion Devices, H-Moss White Adaptive Tech Wall Mnt Sen | 8-40 Minute Timer Range, Passive Infared; Ultrasonic | EA | 109.98 | 7
VC1000033826 | ATD2000C | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | ATD2000C | 55725 | Motion Devices, Sensor, H-Moss Dual Tech Celing Mnt | Occupancy Sensor | EA | 103.35 | 7
VC1000033826 | ATP1600W | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | ATP1600W | 55725 | Motion Devices,H-Moss White Adaptive Tech Wall Mnt Sen | 8-40 Minute Timer Range, Passive Infared | EA | 62.28 | 7
VC1000033826 | ATU1000C | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | ATU1000C | 55725 | Motion Devices, Sensor,Ceiling H Moss, High Density Lens | 180 deg./1000 sq ft | EA | 86.13 | 7
VC1000033826 | ATU2000C | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | ATU2000C | 55725 | Motion Devices, Sensor,H-Moss Dual Tech Celing | Celing Mount Occupancy Sensor, 180 deg/2000 Sq Ft Coverage | EA | 95.4 | 7
VC1000033826 | B172ZN | GRAYBAR ELEC CO INC | B-Line System (Eaton) | B172ZN | 55725 | B172 Splice Clevis, 4 Hole | 100 per pkg, 7 1/4" x 1/4", 4 Mounting 9/16" Holes | Pkg | 2994.32 | 7
VC1000033826 | BIBS43 | GRAYBAR ELEC CO INC |  |  | 55725 | 3-Port Insul Multitap Conn, Single-Sided Entry,L,4 AWG Max | 100 per pkg, 3-Port Insulated Multitap Connector, Single-Sided Entry, L, 4 AWG Max | Pkg | 11.69 | 7
VC1000033826 | BIBS44 | GRAYBAR ELEC CO INC |  |  | 55725 | 4-Port Insul Multitap Conn,Single-Sided Entry, L,4 AWG Max | 250 per pkg, 4-Port Insulated Multitap Connector, Single-Sided Entry, L, 4 AWG Max | Pkg | 13.87 | 7
VC1000033826 | BIT4 | GRAYBAR ELEC CO INC |  |  | 55725 | 2-Port Insul Multitap Conn,Single-Sided Entry, L,4 AWG Max | 2-Port Insulated Multitap Connector, Single-Sided Entry, L, 4 AWG Max | EA | 7.69 | 7
VC1000033826 | BPC-20 | GRAYBAR ELEC CO INC | B-Line System (Eaton) | BPC-20 | 55725 | Break-Apart Clamp 1 1/4" Rigid or Emt | 100 per pkg | Pkg | 207.89 | 7
VC1000033826 | BPC-24 | GRAYBAR ELEC CO INC | B-Line System (Eaton) | BPC-24 | 55725 | Break-Apart Clamp 1 1/2" Rigid or Emt | 100 per pkg | Pkg | 149.78 | 7
VC1000033826 | BPC-32 | GRAYBAR ELEC CO INC | B-Line System (Eaton) | BPC-32 | 55725 | Break-Apart Clamp 2" Rigid or Emt | 100 per pkg | Pkg | 159.31 | 7
VC1000033826 | BR20I | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | BR20I | 55725 | Receptacle,Duplex,Ivory,20A 125V,2P3W,NEMA 5-20R | NA | EA | 1.59 | 7
VC1000033826 | C20699 | GRAYBAR ELEC CO INC |  |  | 55725 | bandit band-c20699 | NA | EA | 124.68 | 7
VC1000033826 | cobalt c atc ts2 type 1 | GRAYBAR ELEC CO INC | ECONOLITE | cobalt c atc ts2 type 1 | 55725 | TS-2 Type 1 Controller Econolite traffic controlle | NA | EA | 3235.29 | 7
VC1000033826 | cobalt c atc ts2 type 2 | GRAYBAR ELEC CO INC | ECONOLITE | cobalt c atc ts2 type 2 | 55725 | TS-2 Type 2 Controller Econolite traffic | NA | EA | 3529.41 | 7
VC1000033826 | COV-003 | GRAYBAR ELEC CO INC | Traffic Hardware + Design | cov-003 | 55725 | traffic signal cover cov-003 | NA | EA | 68.89 | 7
VC1000033826 | CP-25WB+ | GRAYBAR ELEC CO INC | 3M Co. | CP-25WB+ | 55725 | Sealant, Fire Barrier, 10.1 Ounce Cartridge (Tube) | 10 tubes per pkg, 4 Hour Firestop tested | EA | 8.31 | 7
VC1000033826 | CR15WHI | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | CR15WHI | 55725 | Receptacle, Smooth Face, Side Wired, White | 15A 125V 2P3W, NEMA5-15R | EA | 1.04 | 7
VC1000033826 | CS115I | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | CS115I | 55725 | Switch, Com Grade 1 Pole, Toggle, 15A 120/277V, Ivory | NA | EA | 1.39 | 7
VC1000033826 | CS120I | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | CS120I | 55725 | Switch, Toggle,Com Grade, 20A,120/277V ac,1 Pole,Ivory | NA | EA | 1.66 | 7
VC1000033826 | CT11BK50-C | GRAYBAR ELEC CO INC | 3M Co. | CT11BK50-C | 55725 | Cable Tie, Standard, 11 Inch, Black | 1000 per pkg, Black, 50 Lb Tensile Strength, 3/16" width, 0.054" Thick, 11.1 length | Pkg | 7.5 | 7
VC1000033826 | CT15BK120-C | GRAYBAR ELEC CO INC | 3M Co. | CT15BK120-C | 55725 | Cable Tie, Standard, 15 Inch, Black | 100 per pkg, Black, 120 Lb Tensile Strength, 19/64" width, 0.069" Thick, 15 length | Pkg | 15.25 | 7
VC1000033826 | CT8BK50-C | GRAYBAR ELEC CO INC | 3M Co. | CT8BK50-C | 55725 | Cable Tie, Standard, 8 Inch, Black | 100 per pkg, Black, 50 Lb Tensile Strength, 3/16" width, 0.054" Thick, 7.6 length | Pkg | 3.15 | 7
VC1000033826 | CT8NT50S-C | GRAYBAR ELEC CO INC | 3M Co. | CT8NT50S-C | 55725 | Cable Tie, Standard, 8 Inch, Natural (Clear) | 100 per pkg, Natural, 50 Lb Tensile Strength, 3/16" width, 0.054" Thick, 7.6 length | Pkg | 9 | 7
VC1000033826 | DR6-GCAAN-VLA | GRAYBAR ELEC CO INC | GE | DR6-GCAAN-VLA | 55725 | Bulb, Traffic Signal, LED, 12 inch, Arrow, Green | NA | EA | 48.33 | 7
VC1000033826 | DR6-GCFB-VLA | GRAYBAR ELEC CO INC | GE | DR6-GCFB-VLA | 55725 | Bulb,Traffic Signal,LED, 12 inch,VLA Model,Tinted Green | NA | EA | 45 | 7
VC1000033826 | DR6-RTAAN-VLA | GRAYBAR ELEC CO INC | GE | DR6-RTAAN-VLA | 55725 | Bulb,Traffic Signal, LED, 12 inch, Arrow, Red | NA | EA | 48.33 | 7
VC1000033826 | DR6-RTFB-VLA | GRAYBAR ELEC CO INC | GE | DR6-RTFB-VLA | 55725 | Bulb,Traffic Signal, LED, 12 inch, VLA Model, Tinted Red | NA | EA | 45 | 7
VC1000033826 | DR6-YTAAN-VLA | GRAYBAR ELEC CO INC | GE | DR6-YTAAN-VLA | 55725 | Bulb,Traffic Signal, LED, 12 inch, Arrow, Amber | NA | EA | 48.33 | 7
VC1000033826 | DR6-YTFB-VLA | GRAYBAR ELEC CO INC | GE | DR6-YTFB-VLA | 55725 | Bulb,Traffic Signal,LED, 12 inch,VLA Model,Tinted Amber | NA | EA | 45 | 7
VC1000033826 | E9U2GRN2 | GRAYBAR ELEC CO INC | Carlon | E9U2GRN2 | 55725 | Weatherproof Cover,2 gang,Vert Mount,Non-Metc,2 5/8Deep | 100 per pkg, Gray | Pkg | 2488.84 | 7
VC1000033826 | EVEURWE | GRAYBAR ELEC CO INC | Hubbell Lighting |  | 55725 | Exit Light, 2 Light, White/Red, 12 H, 7.60 W, 2.4 depth | NA | EA | 37.33 | 7
VC1000033826 | GFTR2-HG | GRAYBAR ELEC CO INC | Leviton | X7899-HG | 55725 | Receptacle,GFCI, 20 AMP,125 Volt,Hospital Grade, Brown | Hospital Grade, Tamper resistant, SmartlockPro Slim, Brown | EA | 22.31 | 7
VC1000033826 | HBL50010V | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | HBL50010V | 55725 | Channel Raceway Base and Cover, Ivory | 10FT x 0.76 W x 0.53 H, | EA | 0.83 | 7
VC1000033826 | HBL517IV | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | HBL517IV | 55725 | Metal Raceway, Internal Elbow, HBL500 Series, Ivory | NA | EA | 1.46 | 7
VC1000033826 | HBL5781 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | HBL5781 | 55725 | Box Connector, 1/2 Inch NPT Male, Zinc Plated | Overall Length 1.24 inches | EA | 2.13 | 7
VC1000033826 | HEY-JJ | GRAYBAR ELEC CO INC | Copper-Bussmann | HEY-JJ | 55725 | Fuseholder,Inline, Double Pole Water-Resistant, HEY-JJ | NA | EA | 96.14 | 7
VC1000033826 | HMHB21U | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | HMHB21U | 55725 | Motion Devices, Sensor, Passive Infared | 20A, 125V STRP RCPT, High Bay Occupancy Sensor With Single Relay Type; White Finish; Ul, Cul Approval; Indoor | EA | 41.25 | 7
VC1000033826 | HOM120 | GRAYBAR ELEC CO INC | Square D (Schneider Electric) | HOM120 | 55725 | Circuit Breaker, Homeline, Square D, 1 Pole, Plug-In,20A | 10 per pkg, 10kA, 120/240 Vac, 20A | EA | 3.93 | 7
VC1000033826 | IM1911412 | GRAYBAR ELEC CO INC | IMSA Safety | imsa 19-1 12 cond | 55725 | imsa 19-1 traffic signal cable 12 conductor | 1000 per pkg | Pkg | 1416.67 | 7
VC1000033826 | IM1911416 | GRAYBAR ELEC CO INC | IMSA Safety | imsa19-1 16 cond | 55725 | imsa 19-1 traffic signal cable 16 conductor | 1000 per pkg | Pkg | 1944.44 | 7
VC1000033826 | IM191145 | GRAYBAR ELEC CO INC | IMSA Safety | imsa 19-1 5 cond | 55725 | imsa 19-1 traffic signal cable 5 conductor | 1000 per pkg | Pkg | 588.89 | 7
VC1000033826 | IM191147 | GRAYBAR ELEC CO INC | IMSA Safety | imsa 19-1 7 cond | 55725 | imsa 19-1 traffic signal cable 7 conductor | 1000 per pkg | Pkg | 775.55 | 7
VC1000033826 | K4021C | GRAYBAR ELEC CO INC | Intermatic | K4021C | 55725 | Photocontrol, K4000 Series, Fixed Position Mounting | 120 Volt, Thermal Type | EA | 8.11 | 7
VC1000033826 | K4221C | GRAYBAR ELEC CO INC | Intermatic | K4221C | 55725 | Photocontrol, K4200 Series, Stem and Swivel Mounting | 120 Volt, Thermal Type | EA | 9.48 | 7
VC1000033826 | K4223C | GRAYBAR ELEC CO INC | Intermatic | K4223C | 55725 | Photo Control, K4200 Series, Stem and Swivel Mounting | 208/277 Volt AC 1700 to 2300VA Ballast, Thermal Type | EA | 21.24 | 7
VC1000033826 | LB25 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | LB25 | 55725 | Conduit Body, 3/4, Series 5, Type LB Thread, Die Cast Alum | 100 Per pkg | Pkg | 415.85 | 7
VC1000033826 | LB35 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | LB35 | 55725 | Conduit Body,1,Series 5,Type LB Thread,Die Cast Alum | 100 Per pkg, | Pkg | 603.02 | 7
VC1000033826 | LC4536LAC | GRAYBAR ELEC CO INC | Intermatic | LC4536LAC | 55725 | Photocontrol, LC4500 Series Low Cost Locking-Type | Thermal Type, 120/277 With 2400V Spark Gap Arrester | EA | 12.13 | 7
VC1000033826 | LPT75/850/E39/G2-74 | GRAYBAR ELEC CO INC | Topaz Lighting Corp | LPT75850E39G274 | 55725 | Lighting | NA | EA | 81.58 | 7
VC1000033826 | LPX6 | GRAYBAR ELEC CO INC | Cooper Lighting (Eaton) | LPX6 | 55725 | Exit Light, Plastic LED, White/Red, 6" Letters | 7 1/2" Height, 16" Width, 2 1/8" Depth | EA | 42.07 | 7
VC1000033826 | MH175/U/MED | GRAYBAR ELEC CO INC | Sylvania | 64479, M175/U/MED HID Lamp | 55725 | Bulb, 175Watt, ED17, Metal Halide, Med Base,Univ Burn | Metal Halide, Medium Base, Universal Burn, MH175/U/M | EA | 11.96 | 7
VC1000033826 | MMU2-16LEIP | GRAYBAR ELEC CO INC | EDI, Eberle Design Inc | None Listed | 55725 | MMU-16LEip: 12/16 channel with Ethernet Port | NA | EA | 1000 | 7
VC1000033826 | MNI10250DFIX | GRAYBAR ELEC CO INC | 3M Co. | MNI10250DFIX | 55725 | Terminal, Nylon, Brass, Fem Discon, 12 to 10 AWG, Yell | 50 per pkg, 3M Scotchlok | Pkg | 5.1 | 7
VC1000033826 | MV1010FBX | GRAYBAR ELEC CO INC | 3M Co. | MV1010FBX | 55725 | Terminal,Vinyl Insul,Fork, Stud 10,Wire 12-10 AWG,Yell | 50 per pkg, 3M Highland, Brazed Seam Block Fork | Pkg | 16.68 | 7
VC1000033826 | MV108FX | GRAYBAR ELEC CO INC | 3M Co. | MV108FX | 55725 | Terminal,Vinyl Insul,Fork,Stud 8 AWG,Wire 12- 10 AWG,Yell | 50 per pkg, 3M Scotchlok, Brazed Seam Block Fork | Pkg | 17.5 | 7
VC1000033826 | MV18BCX | GRAYBAR ELEC CO INC | 3M Co. | MV18BCX | 55725 | Terminal, Butt Splice, Wire Size 22 to 18 AWG, Red | 50 per pkg | Pkg | 13.5 | 7
VC1000033826 | MX-N16B | GRAYBAR ELEC CO INC | Mobotix | m16 | 55725 | Camera, Mobotix M16 Allround Dual | NA | EA | 843.8 | 7
VC1000033826 | MX-NPA-POE-INT-SET | GRAYBAR ELEC CO INC | Mobotix | mx-npa-poe-int-set | 55725 | mobotix mx-npa-poe-int-set | NA | EA | 131.71 | 7
VC1000033826 | MX-NPA-POE-RJ | GRAYBAR ELEC CO INC | Mobotix | mx-npa-box | 55725 | Box, Mobotix Weatherproof PoE Injector, NPA-Box | NA | EA | 86.93 | 7
VC1000033826 | MX-OPT-RS1-EXT | GRAYBAR ELEC CO INC | Mobotix | m323-10-box | 55725 | Box, Mobotix Input/Output/232-IO-Box | NA | EA | 219.23 | 7
VC1000033826 | NP13I | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | NP13I | 55725 | Wallplate, Blank, 1 Gang, Ivory | NA | EA | 0.19 | 7
VC1000033826 | NP1I | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | NP1I | 55725 | Wallplate, Toggle Switch, Standard, 1 Gang, Ivory | NA | EA | 0.19 | 7
VC1000033826 | NP23W | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | NP23W | 55725 | Wallplate, Blank, 2 Gang, White Nylon | NA | EA | 1.85 | 7
VC1000033826 | NP2W | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | NP2W | 55725 | Wallplate, Toggle Switch, Standard, 2 Gang, White | NA | EA | 0.38 | 7
VC1000033826 | NP82W | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | NP82W | 55725 | Wallplate, Duplex Receptacle, 2 Gang, White Nylon | NA | EA | 0.38 | 7
VC1000033826 | NP8I | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | NP8I | 55725 | Wallplate, Duplex Receptacle, 1 Gang, Ivory | NA | EA | 0.19 | 7
VC1000033826 | NP8W | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | NP8W | 55725 | Wallplate, Duplex Receptacle, 1 Gang, White | NA | EA | 0.19 | 7
VC1000033826 | PDUMH20 | GRAYBAR ELEC CO INC | Tripp-Lite | PDUMH20 | 55725 | PDU, Single-Phase, 1.92kW 120V | NA | EA | 84.1 | 7
VC1000033826 | PG1324BA18 | GRAYBAR ELEC CO INC | Hubbell Power Systems | PG1324BA18 | 55725 | Box Quazite PG Style Enclosure Base, Polymer Concrete | Standard Open Bottom, 13x24x18 | EA | 175.1 | 7
VC1000033826 | PG1324HH017 | GRAYBAR ELEC CO INC | Hubbell Power Systems | PG1324HH0017 | 55725 | Cover, Enclousre, Polymer, Extra HD Teir 22, 13x24x2 | 1 piece w/2 bolts, Electric Logo | EA | 224.06 | 7
VC1000033826 | PK23GTA | GRAYBAR ELEC CO INC | Square D (Schneider Electric) | PK23GTA | 55725 | QO Load Center Ground Bar Kit, 23 Terminal, Square D | 10 per pkg | EA | 8.52 | 7
VC1000033826 | PK27GTA | GRAYBAR ELEC CO INC | Square D (Schneider Electric) | PK27GTA | 55725 | QO Load Center Ground Bar Kit, 27 Terminal, Square D | 10 per pkg | EA | 13.53 | 7
VC1000033826 | PS7-CFF1-VLA | GRAYBAR ELEC CO INC | GE Lighting | ps7-cff1-27a-j2 | 55725 | ppedestrian Countdown Signal PS7-CFF1-27A-J2 | NA | EA | 188.89 | 7
VC1000033826 | QO120 | GRAYBAR ELEC CO INC | Square D (Schneider Electric) | QO120 | 55725 | Circuit Breaker, QO Minature, Square D,1 Pole,Plug-In,20A | 10 per pkg,10kA, 120/240 Vac, 20A | EA | 8.2 | 7
VC1000033826 | QO120GFI | GRAYBAR ELEC CO INC | Square D (Schneider Electric) | QO120GFI | 55725 | Circuit Breaker,QUIK-GARD QO Minature,Square D,GFI 1 Pol,20A | Ground Fault Protection, 1 Pole, Plug-In, 10kA. 1020 Vac, 20A | EA | 71 | 7
VC1000033826 | QO220 | GRAYBAR ELEC CO INC | Square D (Schneider Electric) | QO220 | 55725 | Circuit Breaker,QO Minature, Square D,2 Pole,Plug-In,20A | 5 per pkg, 2 Pole, Plug-In, Common Trip, 10kA, 120/240 Vac, 20A | EA | 17.97 | 7
VC1000033826 | QOB120 | GRAYBAR ELEC CO INC | Square D (Schneider Electric) | QOB120 | 55725 | Circuit Breaker, QOB Minature, Square D, 1 Pole,20A | 10 per pkg, 1 Pole, Bolt On, 10kA, 120/240 Vac, 20A | EA | 16.4 | 7
VC1000033826 | QOB220 | GRAYBAR ELEC CO INC | Square D (Schneider Electric) | QOB220 | 55725 | Circuit Breaker, QOB Minature, Square D, 2 Pole,20A | 5 per pkg, 2 Pole, Bolt On, 10kA, 120/240 Vac, 20A | EA | 36.69 | 7
VC1000033826 | QOB330 | GRAYBAR ELEC CO INC | Square D (Schneider Electric) | QOB330 | 55725 | Circuit Breaker, QOB Minature, Square D, 3 Pole,30A | 5 per pkg, 3 Pole, Bolt On, 10kA, 120/240 Vac, 30A | EA | 120.77 | 7
VC1000033826 | RL124 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | RL124 | 55725 | Lamp Holder/Socket, Med Base, Pigtail, 660W 250V | Rubber with leads | EA | 2.09 | 7
VC1000033826 | RR15I | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | RR15I | 55725 | Receptacle, Quick-Thread Residential Duplex, Ivory | 15A 125V 2P3W | EA | 0.4 | 7
VC1000033826 | S476-81 | GRAYBAR ELEC CO INC | Fisher Pierce Outdoor Lighting Controls | S476-81 | 55725 | Photocontrol Recept Turn-Lock,Wall/Pole Brkt | 14 AWG,18Lead | EA | 10.32 | 7
VC1000033826 | SP12-12(T2) | GRAYBAR ELEC CO INC | Battery Powered Light | PM12120 | 55725 | Battery, SLA, Sentry, 12V 12AMP, F2 Terminal | 5.95" Length, 3.86" Width, 3.70" Height, F2 Terminal | EA | 21.31 | 7
VC1000033826 | SP12-18 | GRAYBAR ELEC CO INC | Battery Powered Light | PM1218 | 55725 | Battery, SLA. Sentry, 12V 18AH | NA | EA | 43.18 | 7
VC1000033826 | SP12-7.5(T1) | GRAYBAR ELEC CO INC | Battery Powered Light | PM1270 | 55725 | Battery, SLA, Sentry 12V 7.2AMP, F1 Terminal | 5.95" Length, 2.56" Width, 3.70" Height, F1 Terminal | EA | 12.22 | 7
VC1000033826 | SP6-12(T1) | GRAYBAR ELEC CO INC | Battery Powered Light | PM6100F1 | 55725 | Batter,SLA, Sentry, Powermate, 6V 12AH, F1 Term | 5.95" Length, 2.00" Width, 3.70" Height, F1 Terminal | EA | 11.93 | 7
VC1000033826 | SP6-14(RT) | GRAYBAR ELEC CO INC | Battery Powered Light | PM6140 | 55725 | Battery, SLA, 6V 14AH .25/.187, FP Terminal | 4.25" Length, 2.80" Width, 5.55" Height, FP Terminal | EA | 17.9 | 7
VC1000033826 | SP6-4.5(T1) | GRAYBAR ELEC CO INC | Battery Powered Light | PM640F1 | 55725 | Battery, SLA, Sentry, 6V 4.5AH, F1 Terminal | 2.76" Length, 1.86" Width, 3.94" Height, F1 Terminal | EA | 5.97 | 7
VC1000033826 | SP6-7(T1) | GRAYBAR ELEC CO INC | Battery Powered Light | PM670F1 | 55725 | Battery, SLA Sentry, 6V 7AH Sealed Power, F1 Term | 5.95" Length, 1.34" Width, 3.70" Height, F1 Terminal | EA | 9.38 | 7
VC1000033826 | SP6-8.5(T1) | GRAYBAR ELEC CO INC | Battery Powered Light | PM682F1 | 55725 | Battery, SLA, Sentry, 6V 8AH, F1 Terminal | 3.86" Length, 2.20" Width, 4.65" Height, F1 Terminal | EA | 12.5 | 7
VC1000033826 | SRHSW0607 | GRAYBAR ELEC CO INC | Dual-Lite | SRHSW0607 | 55725 | Emergency Light, Remote Head | NA | EA | 18.5 | 7
VC1000033826 | SRHSW1207 | GRAYBAR ELEC CO INC | Dual-Lite | SRHSW1207 | 55725 | Emergency Light, Incandescent, White, 12V 7W | NA | EA | 22 | 7
VC1000033826 | SS1 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS1 | 55725 | Wallplate, 1 Gang Toggle Switch, 302/304 Stain Steel | NA | EA | 0.88 | 7
VC1000033826 | SS113 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS113 | 55725 | Wallplate, 2 Gang Combination Tog/Blank, Stainl Steel | NA | EA | 9.13 | 7
VC1000033826 | SS126 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS126 | 55725 | Wallplate, 2 Gang Comb Tog/GFCI Devise, Stain Steel | NA | EA | 3.13 | 7
VC1000033826 | SS13 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS13 | 55725 | Wallplate, 1 Gang, Blank, Box Mount, Stainless Steel | NA | EA | 0.94 | 7
VC1000033826 | SS138 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS138 | 55725 | Wallplate, 2 Gang Comb Duplex Recept/Blank, Stain Steel | NA | EA | 9.86 | 7
VC1000033826 | SS1426 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS1426 | 55725 | Wallplate, 2 Gang Comb Blank/GFCI Devise, Stain Steel | NA | EA | 4.95 | 7
VC1000033826 | SS18 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS18 | 55725 | Wallplate, 2 Gang Comb 1 Tog/1 Duplex Recep, Stain Steel | NA | EA | 4.68 | 7
VC1000033826 | SS2 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS2 | 55725 | Wallplate, 2 Gang Toggle Switch, Stainless Steel | NA | EA | 2.31 | 7
VC1000033826 | SS23 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS23 | 55725 | Wallplate, 2 Gang, Blank, Vertical Mount, Stainless Steel | NA | EA | 2.5 | 7
VC1000033826 | SS26 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS26 | 55725 | Wallplate, 1 Gang GFCI Device, Stainless Steel | NA | EA | 0.88 | 7
VC1000033826 | SS262 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS262 | 55725 | Wallplate, 2 GFCI Devise, Stainless Steel | NA | EA | 1.88 | 7
VC1000033826 | SS3 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS3 | 55725 | Wallplate, 3 Gang Toggle Switch, Stainless Steel | NA | EA | 3.75 | 7
VC1000033826 | SS33 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS33 | 55725 | Wallplate, 3 Gang Blank, Stainless Steel | NA | EA | 8.96 | 7
VC1000033826 | SS-644J | GRAYBAR ELEC CO INC | Ideal | 30-644J | 55725 | Wire Nut, Red and Yellow, 22 to 8 AWG, 200 per Pkg | 1000 per pkg | Pkg | 76.33 | 7
VC1000033826 | SS7 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS7 | 55725 | Wallplate, 1 Gang, Single Twist Lock Receptacle | ingle Twist Lock Receptacle, Screw Mount, 1.40 Inch Diameter Opening, Stainless Steel | EA | 0.88 | 7
VC1000033826 | SS720 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS720 | 55725 | Wallplate,1 Gang, Singl20/30A Twist Lock Recept,Stain Steel | NA | EA | 2.88 | 7
VC1000033826 | SS8 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS8 | 55725 | Wallplate, 1 Gang Duplex Receptacle, Stainless Steel | NA | EA | 0.88 | 7
VC1000033826 | SS82 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS82 | 55725 | Wallplate, 2 Gang Duplex Receptacle, Stainless Steel | NA | EA | 4.28 | 7
VC1000033826 | SS826 | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS826 | 55725 | Wallplate, 2 Gang Comb Duplex Recep/GFCI, Stain Steel | NA | EA | 4.79 | 7
VC1000033826 | SS8L | GRAYBAR ELEC CO INC | Hubbell Wiring Device - Kellems | SS8L | 55725 | Receptacle Plate, 1-G Dup, Stainless steel | NA | EA | 0.66 | 7
VC1000033826 | TN224ZN | GRAYBAR ELEC CO INC | B-Line System (Eaton) | TN224ZN | 55725 | TwirlNut 1/4" 20 THRD 1/4" Nut | 100 per pkg, For use with 1 5/8" Channel, Zinc Plated Steel | Pkg | 199.84 | 7
VC1000033826 | TN225ZN | GRAYBAR ELEC CO INC | B-Line System (Eaton) | TN225ZN | 55725 | TwirlNut 1/2" 13 THRD 1/2" Nut | 100 per pkg, For use with 1 5/8" Channel, Zinc Plated Steel | Pkg | 232.62 | 7
VC1000033826 | TN228ZN | GRAYBAR ELEC CO INC | B-Line System (Eaton) | TN228ZN | 55725 | TwirlNut 3/8" 16 THRD 3/8" Nut | 100 per pkg, For use with 1 5/8" Channel, Zinc Plated Steel | Pkg | 208.64 | 7
VC1000033826 | TP238 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP238 | 55725 | Box, Switch, 3x2 Gangable, NM Cable, 3-1/2 Deep | 100 Per pkg, 4 Side Cable Clamps and (6) 1/2 in Knckouts, (1) 1/2" Bottom Knockouts, Mounting Ears | Pkg | 277.33 | 7
VC1000033826 | TP258 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP258 | 55725 | Extension Ring, Octagon 3-1/2 x 1-1/2Deep | 100 Per pkg, (4) 1/2 Side Knockouts | Pkg | 413.88 | 7
VC1000033826 | TP286 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP286 | 55725 | Extension Ring, Octagon 4 in x 1-1/2Deep | 100 Per pkg, (2) 1/2 and (2) 3/4 Side Knockouts | Pkg | 241.52 | 7
VC1000033826 | TP403 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP403 | 55725 | Box, 4 X 2 1/8 Sqaure | 100 Per pkg, , (8) 1/2 and (4) 12+3/4 E Side and (2) 1/2 and (2) 1/2+3/4 E Bottom Knockouts | Pkg | 108.48 | 7
VC1000033826 | TP428 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP428 | 55725 | Extension Ring, 4 in Square x 1-1/2 in Deep | 100 Per pkg, (8) 1/2 and (4) 3/4 in Side Knockouts | Pkg | 141.4 | 7
VC1000033826 | TP472 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP472 | 55725 | Cover, Blank, Flat, 4 in Square Box, Steel, UL Listed | 100 Per pkg | Pkg | 34.46 | 7
VC1000033826 | TP486 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP486 | 55725 | Cover, 1 Device, Mud Ring, 4 Inch Square, 3/4 Raised, Steel | 100 Per pkg | Pkg | 63.1 | 7
VC1000033826 | TP508 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP508 | 55725 | Cover, 2 Toggle, 4 in Square, Steel, Raised 1/2 in | 100 Per pkg | Pkg | 136.76 | 7
VC1000033826 | TP510 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP510 | 55725 | Cover, 2 Duplex Receptacle, 4 in Sq, Raised 1/2 in, Steel | 100 Per pkg | Pkg | 141.31 | 7
VC1000033826 | TP511 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP511 | 55725 | Cover, 2 GFCI Receptacle, 4 in Sq, Steel, Raised 1/2 in | 100 Per pkg | Pkg | 167.13 | 7
VC1000033826 | TP512 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP512 | 55725 | Cover, 1 Toggle, 4 in Sq, Steel, Raised 1/2 in | 100 Per pkg | Pkg | 117.84 | 7
VC1000033826 | TP513 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP513 | 55725 | Cover, 1 GFCI Receptacle, 4 in Sq, Steel, Raised 1/2 in | 100 Per pkg | Pkg | 148.1 | 7
VC1000033826 | TP514 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP514 | 55725 | Cover, 1-13/32 Single Receptacle,4 in Sq,Steel Raised 1/2in | 100 Per pkg | Pkg | 136.52 | 7
VC1000033826 | TP515 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP515 | 55725 | Cover, 1 Toggle,1 GFCI, 4 in Sq, Steel, Raised 1/2 in | 100 Per pkg | Pkg | 159.21 | 7
VC1000033826 | TP516 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP516 | 55725 | Cover, 1 Duplex Receptacle,4 in Sq, Steel, Raised 1/2 in | 100 Per pkg | Pkg | 100.56 | 7
VC1000033826 | TP517 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP517 | 55725 | Cover,1 Duplex Recept,1 GFCI,4 in Sq, Raised 1/2 in, Steel | 100 Per pkg | Pkg | 148.1 | 7
VC1000033826 | TP521 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP521 | 55725 | Junction Box, Sq 4-11/16 x 2 1/8 Deep | 100 Per pkg, (12) 1/2-3/4 C Side KO, (2) 1/2" & (2) 3/4" Bottom KO. Steel | Pkg | 210.21 | 7
VC1000033826 | TP550 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP550 | 55725 | Extension Ring, 4-11/16 Square x 1-1/2 in Deep | 100 Per pkg, (8) 1/2 and (4) 3/4 in Side Knockouts | Pkg | 302.4 | 7
VC1000033826 | TP568 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP568 | 55725 | Cover, Blank, Flat, 4-11/16 in Square Box, Steel | 100 Per pkg | Pkg | 65.98 | 7
VC1000033826 | TP7050 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP7050 | 55725 | Weatherproof Outlet Box, 1-Gang, 2, 3/4 hub,Cast Alum 5 Hub | 100 Per pkg | Pkg | 667.43 | 7
VC1000033826 | TP7086 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP7086 | 55725 | Weatherproof Outlet Box, 2-Gang, 2, 1/2 hub, Cast Alum,3 Hub | 100 Per pkg | Pkg | 602.4 | 7
VC1000033826 | TP7106 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP7106 | 55725 | Weatherproof Outlet Box, 2-Gang, 2, 3/4 hub, Cast Alum,5 Hub | 100 Per pkg | Pkg | 817.55 | 7
VC1000033826 | TP7146 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP7146 | 55725 | Round Weatherproof Outlet Box,1 1/2D,1/2hub,Cast Alum,4 Hub | 100 Per pkg, Die Cast Alum | Pkg | 361.44 | 7
VC1000033826 | TP7150 | GRAYBAR ELEC CO INC | Crouse-Hinds (Eaton) | TP7150 | 55725 | Round Weatherproof Outlet Box,1 1/2D,3/4 hub,Cast Alum,4 Hub | 100 Per pkg, Die Cast Alum | Pkg | 516.34 | 7
VC1000033826 | U3499-XL-100 | GRAYBAR ELEC CO INC |  |  | 55725 | millibank 100 amp meter trim disconnect | NA | EA | 137.18 | 7
VC1000033826 | U3791N-RXL-200-BL | GRAYBAR ELEC CO INC |  |  | 55725 | millibank 200 amp meter trim disconnect with bypass | NA | EA | 808.86 | 7
VC1000033826 | WPLED20/PC | GRAYBAR ELEC CO INC | Rab Lighting | WPLED20/PC | 55725 | Wall Pack W/Photo Cell, LED 20W, Bronze | NA | EA | 191.33 | 7