HETL

Tel. (207) 287-2727

Fax (207) 287-1727

June 12th, 2012

Dear HETL Client:

Effective July 2nd 2012 HETL will discontinue  the Western Blot HIV-1 test for confirmation of HIV in conjunction with serum samples.  Instead, HETL will employ a new testing algorithm utilizing an FDA approved 4th generation antibody/antigen combination test in conjunction with the Bio-Rad ® Multispot assay. The MultiSpot is an FDA approved HIV-1 and HIV-2 discriminatory test.  Replacing the Western Blot with the Bio-Rad ® Multispot is consistent with the latest recommended guidance from CDC. For HETL clients, adoption of the new testing alghorithm means:

- earlier detection of HIV infection

- substantially reduced turnaround times for reporting of  positive HIV results

- valuable laboratory results on the HIV type (1 or 2) in positive cases

- cost savings for clients-  $30 for MultiSpot vs. $100 for the Western Blot.

Effective Monday July 2nd , 2012 serum specimens that are positive for  HIV-1/HIV-2 using the 4th generation antigen/antibody HIV test will be reflexed to the Multispot test. Western Blot testing will remain available as a reflex for oral fluid HIV testing until 12/31/2012.

More specific information for clients can be found at our web site (www.mainepublichealth.gov/lab). Find the link on our home page entitled: “Microbiology Testing: How to Submit Samples” and download the document entitled “HIV-Serum”.

Please feel free to contact HETL serology with specific questions about the new HIV testing algorithm at 207-287-1722.

Sincerely,

Kenneth G. Pote, Ph.D.

Chief of Laboratory Operations

Me-CDC Health and Environmental Testing Laboratory