02		DEPARTMENT OF PROFESSIONAL AND FINANCIAL REGULATION

174		BOARD OF BOILERS AND PRESSURE VESSELS

Chapter 32:	BOILER OPERATORS AND STATIONARY STEAM ENGINEERS

Summary: This chapter establishes requirements for licensure and responsibilities of boiler operators and stationary steam engineers.

1.	Applications

Applications for examination and licensure as a boiler operator or stationary steam engineer must be on a form provided by the Board and must be accompanied by the fees established by the Director.

2.	Qualifications for Examination and Licensure

To qualify for licensure, an applicant must:

A.	Experience. Have the experience required by 32 M.R.S.A. § 15109(7)(A through I) for that grade or class of license at the time the applicant applies for examination. Proof of satisfactory completion of a Board-approved high pressure boiler operator’s technical training course shall be considered the equivalent of 3 months’ experience.

B.	Examination. Obtain a passing grade of at least 70% on an examination administered by the Board;

C.	Deadline for Application. Apply for the license within 90 days after receiving notification of a passing score on the examination; and

# D.	Fee; Forfeiture. Submit the examination fee for the license together with the application for the license. An applicant who fails to appear for a scheduled examination without notifying the Board before the examination forfeits the examination fee.

# 3.	Renewal of License

A.	Expiration. All licenses issued under this Chapter expire 3 years from the date of issuance.

B.	Eligibility for Renewal. Applications for renewal of a license governed by this Chapter must be on a form provided by the Board and must be accompanied by the fee established by the Director. A license may be renewed up to 90 days after expiration upon payment of a late fee in addition to the renewal fee.

4.	Reinstatement of License

A.	More than 90 Days but Not More than 2 Years. An individual who fails to renew a boiler operator or stationary steam engineer’s license for more than 90 days but not more than 2 years from the date of expiration may reinstate the license without taking the examination required by Section 2, paragraph A of this chapter. To reinstate, an individual must file a new application for reinstatement and pay the application fee, license fee, and penalty as set forth in the Office of Licensing and Registration Rules Chapter 10, “Establishment of License Fees,” Section 4, Subsection 9.

B.	More than Two Years. An individual who fails to renew a license governed by this Chapter for more than 2 years from the date of expiration may obtain a new license by satisfying the requirements of Title 32, Chapter 131, and Sections 2 and 3 of this Chapter.

# 5.	Attendance Requirements for Power Boilers

The following rules govern the required power boiler attendance requirements of licensed boiler operators and/or stationary steam engineers, with consideration of the method of firing fuels, equipment, or machinery being supplied, or the occupation of the building being served:

A.	A licensed stationary steam engineer’s duties include the observation and manipulation of mechanical, automatic, or remote controls and the testing, clearing, and blow-down or draining of these controls to ensure proper operation of these devices. A stationary steam engineer may also undertake routine cleaning of any boiler and its fuel burning equipment.

B.	Manual Boilers. Manual boilers must be constantly monitored while in operation by an appropriately licensed individual.

C.	Automatic Boilers.

(1)	Power Plant. Boilers located in power plants must be constantly monitored while in operation by an appropriately licensed individual.

(2)	Process Plant.

(a)	Boilers located in process plants with 1,000,000 BTU/hour or more aggregate heat input must be monitored at least every 2 hours while in operation by an appropriately licensed individual.

(b)	Boilers located in process plants with less than 1,000,000 BTU/hour aggregate heat input must be monitored at least every 8 hours while in operation by an appropriately licensed individual.

NOTE: Steam kettles used in cooking are considered process units.

(3)	Heating Plant. The attendance and monitoring requirements for heating plants are applicable when the boiler is in use and the school or building is open for public use. Any boiler located in a heating plant with 1,000,000 BTU/hour or more aggregate heat input must be monitored at least every 8 hours while in operation by an appropriately licensed individual. Any boiler located in a heating plant with less than 1,000,000 BTU/hour aggregate heat input must be monitored at least once every 24 hours while in operation by an appropriate licensed individual. Only properly licensed stationary steam engineers may change the controls on a high pressure boiler to operate as a low pressure boiler and vice versa.

NOTE:

Notes are provided for informational or explanatory purposes. They are intended to provide guidance and/or clarify the rules. They are not part of the rules.

If a plant can simultaneously be classified as more than one type of plant (power, process, or heating), attendance requirements must meet the most stringent attendance requirements based on possible types of plant and operational conditions.

For example:

1.	A hospital boiler typically provides steam for heating and process purposes simultaneously. The attendance requirements for a process boiler would meet the requirements of this rule while the plant is providing steam for process purposes. If the plant is only providing a heating load, the plant must meet the requirements for a heating plant.

2.	A process boiler may provide steam for space heating in addition to steam for a process during production. While production is stopped at the end of the day or on the weekend, a boiler may be used for space heating. During this situation, a process boiler used exclusively for space heating may be considered to be functioning as a heating plant during this time, provided the proper controls are installed for low pressure operation so as not to permit the boiler to operate at greater than 15 PSI steam pressure.

3.	Process plants and heating plants that are operated as a low pressure boiler do not have mandatory attendance requirements; however, the boiler must be operated and maintained in a safe condition.

4.	Aggregate heat input is the potential heat input of the plant based on the capacity of the installed boilers connected to a single plant.

# 6.	Unsafe Conditions

A licensed boiler operator or stationary steam engineer must report an unsafe condition involving a boiler or pressure vessel to the Chief Inspector immediately and in any event not later than 24 hours after becoming aware of the condition. Notification to the Chief Inspector must include the licensee’s name and telephone number, the location and registration number of the boiler or pressure vessel, the name of the owner, and the nature of the unsafe condition. The licensee must provide to the Chief Inspector any additional information requested by the Chief Inspector regarding the unsafe condition of the boiler or pressure vessel.

7.	Engineers-in-Charge (Duties and Responsibilities)

A.	Persons designated engineers-in-charge are responsible for the safe and proper operation and maintenance of the power boilers over which they have charge.

Note: The engineer-in-charge has the responsibility to ensure that each plant is properly staffed for safe operation. The guidelines established in rule for attendance requirements are a minimum. The circumstances in any plant may require increased attendance of licensed personnel. This is especially a concern in plants that experience substantial fluctuation in output.

B.	Duties relating to the operation and maintenance of a power boiler must be performed by a stationary steam engineer under the direct authority of the engineer-in-charge.

C.	On each regularly scheduled work day, the engineer-in-charge must visit the plant and leave instructions for the stationary steam engineers who will operate the power boiler. On those days that the engineer-in-charge is not scheduled to work, the engineer-in-charge must leave written instructions for the stationary steam engineers. The instructions provided by the engineer-in-charge must be made available to the Chief Inspector upon request.

D.	The engineer-in-charge must train other stationary steam engineers under the supervision of the engineer-in-charge.

E.	The engineer-in-charge must maintain a bound engineer’s log book in ink and must ensure that the log book is maintained to adequately document plant operating parameters.

AUTHORITY:	32 MRSA § 15104-A and § 15109

EFFECTIVE DATE:

January 15, 2005 – filing 2005-31