| Bureau of Labor Standards / OSHA – References: | OSHA 1910.1001 and 1910.1001 appendix A |
| --- | --- |
| Asbestos | A determination shall be made if asbestos is in the building. If none, document findings and go no further. If found, continue onto Locations |
| Locations | List all locations where asbestos is located. |
| Exposure Limits | Time-weighted average limit (TWA). The employer shall ensure that no employee is exposed to an airborne concentration of asbestos in excess of 0.1 fibers per cubic centimeter of air as an eight (8)-hour time-weighted average (TWA) as determined by the method prescribed in Appendix A to this section, or by an equivalent method. |
| Employee Notification | The employer must, within 15 working days after the receipt of the results of any monitoring performed under this section, notify each affected employee of these results either individually in writing or by posting the results in an appropriate location that is accessible to affected employees. |
| Isolation | The employer shall establish regulated areas wherever airborne concentrations of asbestos and/or PACM are in excess of the TWA and/or excursion limit prescribed in paragraph (c) of this section. |
| Develop Guidance | Develop guidance which no unauthorized employee is to alter locations listed above. |