## A
CMP System Losses
(These system losses exclude losses over PTF facilities)
Loss Factors by Voltage Level
|  | Winter | Non-Winter | Average
| Secondary | 0.078346 | 0.082998 | 0.081299
| Primary | 0.040232 | 0.040236 | 0.040785
| Sub-Transmission | 0.013918 | 0.015085 | 0.014599
| Transmission | 0.002351 | 0.003379 | 0.003017
| Average |  |  | 0.064963
Weighted Average Loss Factors by Class
(Based on recent usage by voltage level of service.)
Medium Class |  |  | Total Class | SO Only
| % of Class @ Secondary Voltage |  | 96.4% | 97.1%
| % of Class @ Primary Voltage |  | 3.6% | 2.9%
|  |  | 100% | 100%
Medium Class Weighted Average Loss Factor |  |  | 0.07984 | 0.080124
Large Class |  |  | Total Class | SO Only
| % of Class @ Secondary |  | 16.88% | 44.38%
| % of Class @ Primary |  | 25.16% | 44.52%
| % of Class @ Sub-Transmission |  | 31.84% | 8.07%
| % of Class @ Transmission |  | 26.13% | 3.02%
|  |  | 100% | 99.99%
Large Class Weighted Average Loss Factor |  |  | 0.029521 | 0.055407
Application of Loss Factors
Total MWh to be provided = (1+loss factor) x (MWh measured at meter)
Example: | Usage @ meter = 9,700 MWh
| Total MWh to be provided = 9,700 x (1+.079962) = |  | 10475.6314